SECTION 712 - MISCELLANEOUS

Make the following amendment to said Section:

(I)	Amend 712.32(A)     Light Source for Roadway Lighting Luminaires to read as follows:

“(A)	Light Source for Roadway Lighting Luminaires.     All light sources of installation in roadway lighting luminaires shall be Low Pressure Sodium. minimum 18,000 hours, non-metallic bayonet base, sodium retaining reservoirs, insulation at the ‘U’ bend, an arc support system and a fuse coil in lamp base for ballast protection.”

# END OF SUBSECTION 712.32