## SECTION 712 - MISCELLANEOUS

Make the following Subsection a part of said Section:

"712.62	Luminaire and Conductor Identification.     Affix tags of rigid, non-ferrous material,  with machine embossed legend on two sides with non-ferrous wire to feeder,  branch feeders,  and sub-branch conductors in pullboxes and light standard bases.     Legend shall indicate feeder designation and be in letter quarter inch high."

# END OF SUBSECTION 712.62