Amend Section 206 - Excavation and Backfill for Conduits and Structures to read as follows:

“SECTION 206B - EXCAVATION AND BACKFILL

FOR BRIDGE AND RETAINING STRUCTURES

206B.01	Description.     This section describes the following:

(1)		Excavating and backfilling to depths and lines established for bridge, overhead-mounted expressway sign, and retaining (reinforced concrete or cement rubble masonry) structure foundations;

(2)		Other excavating and backfilling specifically designated in the Contract as structure excavations and backfills;

(3)	Disposing of surplus material from structure excavations;

(4)	Bailing, draining, sheathing, and constructing cofferdams, if necessary, and subsequently removing sheathing and cofferdams;

206B.02	Materials.

Filter Material	703.18

Structure Backfill Material	703.20

Controlled Low Strength Material (CLSM) in accordance with Section 313 - Controlled Low Strength Material (CLSM) in place of structure backfill material subject to the Engineer’s acceptance.     When using CLSM,  the Engineer will consider CLSM as the required backfill.

206B.03	Construction Requirements.

(A)	Structure Excavation.

(1)	General.    Notify the Engineer 10 working days before excavating for structures.

The Contractor shall be responsible for the stability of temporary open cuts during construction of structures or trenches and shall take appropriate measures to meet OSHA requirements at no increase in contract price or contract time.

Excavate foundations to elevations in accordance with the particular type of structure to be placed.

In structure excavation operations, do not disturb ground below elevations shown in the Contract.     If ground below elevations shown in the contract is disturbed,  excavate disturbed ground until undisturbed ground is reached.     Backfill this area with Class D concrete until required foundation elevation is reached.     Conduct this work at increase in contract price or contract time.

Keep foundation excavation dry by draining, bailing, pumping, driving sheathings; or by constructing cofferdams and cribs.

When material from excavation does not meet quality requirements specified for backfill in accordance with Subsection 203.02 - Materials, furnish conforming material, as required.

Deposit remaining structure excavation material that is not used as structural backfill, in roadway embankments according to Subsection 203.03(B)(1) – Selected Material.     Dispose of surplus selected material according to Subsection 203.03(B)(3) – Surplus Selected Material.

(2)	Cofferdams.    Construct cofferdams for foundation construction to depths well below bottom of footings to ensure stability and to adequate heights to seal off all water.  Brace well and make as watertight as necessary for proper performance of Work that must be conducted inside cofferdam.     Provide interior cofferdam dimensions so as to give sufficient clearance for driving piles, constructing forms, and when not placing seal, permitting pumping from outside the forms.

When clearance provided in the contract between outside line of footings and piles or interior walls or surfaces are insufficient to permit pile driving or form building, the Contractor may enlarge cofferdams to provide sufficient clearance.     The Engineer will consider enlargement exceeding one foot outside footing dimensions shown in the contract as being for the sole purpose of expediting work of the Contractor and of no value to the State.     The Engineer will not include for payment, excavation and backfill that exceed described limits.

Correct or enlarge cofferdams that are tilted or moved out of position during the process of sinking.     Conduct such work at no cost to the State.

In tidal waters or in streams at a time of probable flood, vent cofferdam walls at low water elevation to ensure equal hydrostatic head both inside and outside of cofferdam during pouring and setting of seals.

The Engineer will not permit shoring in cofferdams that will induce stress,  shock,  or vibration in the permanent structure.

When permitted, cross struts or bracing may extend through foundation concrete.  The Engineer will permit such struts or bracing below low water to remain in place.  Remove struts or bracing above low water.  Fill volume with concrete of the same mix as that specified for surrounding concrete.

If requested by the Engineer, submit drawings and design calculations, signed by State of Hawaii Licensed Structural Engineer, showing proposed method of cofferdam construction and other details left open to the Contractor’s choice or not fully shown in the contract  documents for substructure work.

After completion of the structure, remove cofferdams, including sheathing and bracing,  to a depth of 1-foot below streambed at no increase in contract price or contract time.     Remove cofferdams in a manner that will not disturb or damage finished concrete or masonry.

(3)	Foundation Treatment.    When footing concrete or masonry is to rest upon rock,  fully uncover rock and remove rock surface to a depth sufficient to expose sound rock.     Roughly level rock surface or cut to steps; and roughen rock surface.

Grout seams in rock under pressure.    The Engineer will pay in accordance with 104.02 – Changes.

While excavating for non-pile foundations where footing concrete or masonry is to rest on an excavated surface other than rock,  do not disturb excavation bottom.     Remove foundation material to final grade immediately prior to placing concrete or masonry.

Complete driven pile foundation excavation to footing bottom before driving piles therein.     Remove excess materials remaining in the excavation, after pile driving, to the footing bottom elevation.

In pile foundations,  the Engineer will permit excavating a sufficient distance below footing bottom, as shown on the contract documents, at no increase in contract price or contract time.     When the ground surface has risen above plan grade after pile driving, remove surplus material at no cost to the State.     When ground surface is below plan grade after pile driving, backfill and compact to plan grade with acceptable material, at no increase in contract price or contract time.

(4)	Inspection.    When the Engineer needs to determine character of foundation material,  excavate test pits, drill test borings, and perform foundation bearing tests as ordered by the Engineer.  The Engineer will pay in accordance with Subsection 104.02 -Changes.

When structure excavation to foundation grade is completed,  request that the Engineer inspect and accept foundation elevation and character before placing concrete or masonry and reinforcing steel in the footing.

(B)	Structure Backfill.  Do not deposit fill material against back of the following structures until test samples indicate that concrete has developed strength required in Subsection 503.03(E) - Loading:

(1)	Concrete abutments,

(2)	Piers,

(3)	Concrete retaining walls, or

(4)	Foundations

Cure test samples under conditions similar to those affecting the structure.  Continue backfilling so that excessive unbalanced loads are not introduced against the structure.

Place backfill material in uniform horizontal layers not exceeding 8 inches in loose thickness,  before compaction.     Moisten and compact each layer of backfill until a relative compaction of not less than 95 percent is achieved according to Subsection 203.03(C)(2) – Relative Compaction Test.     The Engineer may reduce 95 percent compaction requirement in situations where such compaction is not feasible, such as in footings located in running streams or in swampy areas.     The Engineer will be the sole judge of the degree of reduction.     In streambeds subject to appreciable scour,  backfill footings with rockfill instead of complying with the 95 percent compaction requirement.

When the Engineer cannot use field density test,  compact each layer of backfill with vibratory or other accepted equipment on granular backfill material.

The Engineer will not permit compaction of backfill material by ponding or jetting.

When required, place sufficient fill at bridges ahead of other grading operations to permit public traffic to cross.  Compact structure backfill in the following areas to a relative compaction of not less than 90 percent:

(1)	Footings for slope protection, slope paving, and aprons;

(2)	Retaining walls, except portions under surfacing, and crib walls;

(3)	Footings not beneath surfacing;

(4)	Other locations where Plans show 90 percent relative compaction for structure backfill.

(C)	Filter  Material.     Place backfill filter material at bridge abutments and retaining walls in accordance with the contract documents.

Make subgrade as impervious as possible by pneumatic tamping where material is placed.     Compact filter material thoroughly, in layers, with backfill.

206B.04	Method of Measurement.

(A)	Structure Excavation.     Structure excavation will be paid on a lump sum basis          Measurement for payment will not apply.

(B)	Structure Backfill.     Structure backfill for bridge abutments, wingwalls, and retaining walls will be paid on a lump sum basis.     Measurement for payment will not apply.

(C)		Filter Material.     Filter material will be paid on a lump sum basis.     Measurement for payment will not apply.

206B.05	Basis of Payment.     The Engineer will pay for the accepted pay items listed below at the contract price per pay unit,  as shown in the proposal schedule.     Payment will be full compensation for the work prescribed in this section and the contract documents.

The Engineer will pay for each of the following pay items when included in the proposal schedule:

# Pay Item	Pay Unit

## Structure Excavation for ______________	Lump Sum

Structure Backfill for _________________	Lump Sum

## Filter Material	Lump Sum

The Engineer will pay for removal of material from depths greater than 3 feet below depths indicated in the contract documents in accordance with Subsection 104.02 - Changes.”

END OF SECTION 206B