Amend Section 648 – Geocomposite Drain to read as follows:

“SECTION 648 – FIELD-POSTED DRAWINGS

648.01	Description.     This section describes the preparation of the field-posted drawings in accordance with the contract documents.

648.02	Materials.     Not applicable.

648.03	Construction Requirements.     The Engineer will provide two sets of full size contract plans for the Contractor’s use in noting all changes to the work.     Prepare two sets of drawings.     Use red pencil to note the changes.     Use a blue pencil to add any additional notes that will be helpful for the State to post the field-posted drawings.

Submit the field-posted drawings including the subcontractor’s changes to the Engineer on a monthly basis at the beginning of each month for the Engineer’s review.     Make any changes that the Engineer recommends.

Submit the final field-posted drawings before or during the pre-final inspection as specified in Subsection 108.14(B) – Pre-Final Inspection

648.04	Method of Measurement.     Field-posted drawings will be paid on a lump sum basis.     Measurement for payment will not apply.

648.05	Basis of Payment.     The Engineer will pay for the accepted field-posted drawings on a lump sum basis.     Payment will be full compensation for the work prescribed in this section and the contract documents.

The Engineer will pay for the following pay item when included in the proposal schedule:

## Pay Item	Pay Unit

### Field-Posted Drawings	Lump Sum

The Engineer will pay for:

(1)	60% of the contract bid price,  prorated on a monthly basis of the original contract time,  of satisfactory progress of the field-posted drawings.

(2)	40% of the contract bid price at final acceptance of the field-posted drawings.”

# END OF SECTION 648

# Comments

One set of drawings for the project files and one set for the Engineer to send to HWY-D.