Make the following Section a part of the Standard Specifications

"SECTION 653 – CONCRETE CULVERT LINING

653.01	Description.     This section describes repairing damaged culvert surface; grouting voids beneath existing culvert invert;  and constructing reinforced concrete lining.

653.02	Materials.     Concrete,  Class A or B	601

Self Drilling Tapping Screws and Steel Studs	ASTM A 307

Welded Wire Fabric Reinforcement	709.01 (C)

Emulsified Asphalt Coating	ASTM D 1227 Type IV

Epoxy	ASTM C881, Type II or V, Grade 2, Class C

653.03	Construction Requirements.     Remove and dispose of dirt,  rust,  and other loose materials from interior of culvert.     Cut,  remove,  and dispose of corroded sections as ordered by the Engineer.

Install self-drilling tapping screws,  3/8-inch in diameter by 3-inches long;  or weld 1/2-inch-diameter,  2-1/2-inch-long steel studs to the crest of the culvert corrugations at intervals specified in the contract documents.     Prior to installing self-drilling tapping screws and welded wire fabric,  the Engineer will inspect and accept the prepared culvert surface.

Place welded wire fabric 2 inches above crest of corrugations by welding or attaching it to self-drilling tapping screws or steel studs.     Place welded wire fabric along culvert interior as specified in the contract documents.     Overlap welded wire fabric a minimum of 6 inches.

Apply epoxy-bonding agent after cleaning metal surface,  just before concrete placement.     Clean culvert surface 12 inches above limits of epoxy bonding agent by hydrowashing with minimum water pressure of 5,000 pounds per square inch.     Remove excess bonding agent that collects in the pockets.     Epoxy bonding agent shall be tacky when concrete is placed.

Repair damage to welded wire fabric and studs that occurs during concrete placement at no increase in contract price and contract time.     Trowel concrete to form a smooth, dense surface finish.     Fill voids beneath culvert invert with concrete.     Score concrete culvert lining 1/8-inch wide,  1-inch deep laterally,  at 20 feet on-center.     If the Contractor chooses to score by sawcutting,  sawcut between four to eight hours after concrete is placed.

Cure concrete in accordance with Subsection 503.03 (L) - Curing Methods.     Allow concrete placed in the culvert to cure for a minimum of 48 hours before allowing water to flow through culvert.

After concrete has cured and has been scored laterally,  apply two coats of emulsified asphalt to both edges of lining and to the 3/4-inch scores.     Clean metal and concrete surfaces to be coated.     Asphalt coating at edge of lining shall be 6-inches wide along length of culvert lining.     Finished coating shall be a continuous film, free of voids,  gaps,  or pin holes.

653.04	Method of Measurement.

(1)	Concrete culvert lining will be paid on a lump sum basis.     Measurement for payment will not apply.

(2)	The Engineer will measure removal of damaged culvert sections per square yard in accordance with the contract documents.

(3)	The Engineer will measure concrete placed beneath culvert invert per cubic yard in accordance with the contract documents.

653.05	Basis of Payment.     The Engineer will pay for the accepted pay items listed below at the contract price per pay unit,  as shown in the proposal schedule.     Payment will be full compensation for the work prescribed in this section and the contract documents.

The Engineer will pay for each of the following pay items when included in the proposal schedule:

Pay Item	Pay Unit

## Concrete Culvert Lining for _____ - Inch	Lump Sum

Removal of Damaged Culvert Sections	Square Yard

The Engineer will pay for:

(1)	80 percent of the contract bid price upon completion of removing the damaged culvert sections

(2)	20 percent of the contract bid price upon completion of disposing the damaged culvert sections.

Concrete Placed Beneath Culvert Invert	Cubic Yard

The Engineer will pay for:

(1)	80 percent of the contract bid price upon completion of placing the concrete.

(2)	20 percent of the contract bid price when tests of the material are found acceptable.

# END OF SECTION 653