Make the following Section a part of the Standard Specifications:

SECTION 636 – E-CONSTRUCTION

636.01	Description.  This section specifies requirements for performing the Project in a “paperless” manner, using electronic tools for all submittals, communications, quantity tracking, testing and sampling, scheduling, quality control, and performance monitoring.

636.02	General Requirements.  The Contractor shall implement the use of the E-Construction platform, as provided by the HDOT and directed by the Engineer, for use throughout the project.  Paper-based or hard copy submittals will not be accepted.

This Special Provision shall take precedence over all other Specification sections with respect to providing and receiving paper copy communications, submittals, and any project records.  Where conflicts exist, and a decision between a hard-copy item and a corresponding electronic version is needed, the electronic version shall be selected, unless otherwise directed by the Engineer.

636.03	Construction

- Plans and Specifications.  Project drawings will not be provided to the Contractor in hard copy format.  An electronic version will be provided in the E-Construction platform for use during the project.

The Contractor shall note all changes to the work, including all subcontractor’s work, in electronic format using the E-Construction platform. Red annotations shall be used to note changes.  Blue annotations shall be used for any additional notes that will be helpful for the State in interpreting the field posted drawings.  Other drafting standards may be implemented by the Engineer and shall be adhered to by the Contractor.  Changes shall be input by the Contractor and reviewed by the Engineer monthly.  The Contractor shall make any changes that the Engineer requires.

- Submittals.  The Contractor shall provide all required submittals, as listed within the contract documents, via the E-Construction platform. All review, approval, and resubmittal regarding submittals shall also be documented within the E-Construction platform.

- Correspondence.  Electronic mail (email) shall be the preferred method of electronic communication.  All communications that affect project scope, schedule, cost, or quality, including changes and requests for information, shall be submitted as directed by the Engineer.

- Prosecution and Progress.  The Contractor shall provide all administrative, management, and project support documents required by various specification sections, using the E-Construction platform. These elements include, but are not limited to:

- Preconstruction Data Submittal (Section 108.03)

- Correspondence regarding Contract Time (Section 108.05) and Delays

- Progress Schedules (Section 108.06)

- Weekly Meeting preparatory materials (Section 108.07)

- Samples, certifications, material data, installation instructions, and shop drawings (Sections 105 – Control of Work and 106 -Material Restrictions and Requirements)

- Field-posted Drawings (Section 648)

- Pre-Final and Final Inspection submittals (Section 108.13)

- Warranty documentation – Guarantee of Work (Section 108.17)

- Project Closing Documents – Final Settlement of Contract (Section 108.19)

In addition to the foregoing, the Contractor shall provide any other materials, correspondence, and submittals using the E-Construction platform as directed by the Engineer.

- Resources.  The Contractor shall provide a comprehensive list of Contractor labor and equipment, including all subcontractor labor and equipment, that will be deployed on the project, using spreadsheet-based templates provided in the E-Construction platform. All template fields shall be completed.  The submitted information shall comply with the requirements of Specification Section 108 – Prosecution and Progress (identification of labor and equipment resources) and Specification Section 109 - Measurement and Payment (cost data) and represent all individual personnel with labor categories and rates, and all equipment owned or rented, with associated rates, on this project.  Updates for additional personnel or equipment shall be accomplished by the Contractor at will and shall be completed when directed by the Engineer.

(F)	Electronic Ticketing.  The Contractor/supplier shall provide electronic material tickets for all loads of Asphalt Mix (Hot Mix Asphalt Concrete, Hot Mix Asphalt Base Course, or Stone Matrix Asphalt), Portland Cement Concrete (PCC), or Construction Aggregates delivered to the project.

The Contractor/supplier may use the plant ticketing system of their choice to create the material ticket data.

Digital material records created, altered, or voided by a person with direct knowledge of the event (the weighmaster or batch person) must be transmitted directly from the plant computer system (scale and batch) to the Department of Transportation at or near the time of the event.

Should digital material records be transmitted to the Department of Transportation through other methods, the weighmaster or batch person must certify the digital material records received by the Department of Transportation daily.

The Department’s minimum service level expectation is to receive tickets no later than 5 minutes from when they were created, 99.5% of the time.  The Department of Transportation may reject any ticket(s) received later than 5 minutes from when the ticket was created.

- Ticket data shall include the following:

- Material ticket data will be submitted to the agency via direct connection or a Hypertext Transfer Protocol (HTTPS) post as JavaScript Object Notation (JSON) documents.

- Material suppliers must test to confirm that ticketing data can be shared from the originating system no less than 10 days before the project starts.  The topic shall be discussed at the pre-construction meeting.

- Ticket data must be available immediately upon project start so that tickets can be viewed without delay.

(d)	Provide the same data currently accessible and viewed by agency users previously on printed tickets for state projects.

- The Contractor shall submit material ticket data in accordance with the plant manufacturer’s system recommendations to provide the following unless otherwise directed by the Engineer:

- Net weight (or volume for ready mix concrete) of material being transported to the nearest 0.01 ton or cubic yard.

- Running daily total of net weight of material (or volume for ready mix concrete) being transported to the nearest 0.01 ton or cubic yard.

- Each material ticket shall contain the following:

  - General Ticket information (All Materials)

    - Date

    - State Project Name

    - State Project Number

    - Name of Contractor

    - Name of Material Supplier

    - Customer Name

    - Hauler

    - Unique Truck ID

    - Plant/scale name (source)

    - Unit of Measure

    - Ticketed time

    - Ticket Number

  - Asphalt Mix

    - Material Name/Description

    - Gross Weight (if not automatic)

    - Tare Weight (if not automatic)

    - Net weight

    - Mix Design Number

    - Weighmaster

  - Portland Cement Concrete

    - Loaded time (water/cement time)

    - Wet and dry batch weights (if computer generated)

    - Water:

- In aggregate

- Total water

- Water/cement ratio

- Allowable water to add

    - Admixtures (including brand names if available):

      - Retarder and weights

      - Water reducer and weights

      - Air entrainment and weights

      - Special performance admixtures and weights

      - Concrete fibers

    - Mix Design

    - Slump

    - Truck Revolution

  - Construction Aggregates:

    - Material Name/Description

    - Gross Weight (if not automatic)

    - Tare Weight (if not automatic)

    - Net weight

    - Mix Design Number

    - Weighmaster

  - Optional Additional Truck Status (Will be accepted when available – All Materials)

    - Left plant

    - Arrive at project

    - Begin unload

    - Finish unload

    - Leave project

636.04	Measurement.  The Engineer will measure additional E-Construction programs, additional licenses, or additional equipment, if ordered by the Engineer, on a force account basis in accordance with Subsection 109.06 – Force Account Provisions and Compensation.

636.05	Payment.  The Engineer will pay for the additional E-Construction programs, additional licenses, or additional equipment, on a force account basis in accordance with Subsection 109.06 – Force Account Provisions and Compensation.

The Engineer may withhold progress payment until the Contractor is in compliance with all E-Construction requirements.

Pay Item	Pay Unit

Additional E-Construction Programs, additional licenses

or additional equipment	Force Account

An estimated amount for force account may be allocated in the proposal schedule under “Additional E-Construction Programs, additional licenses or additional equipment.”  The actual amount to be paid will be the sum shown on accepted force account records.

END SECTION 636